## pH Calibration
pH Probe Calibration Spreadsheet
| pH | voltage (V)
Buffer 1 | 4.01 | 2.255
Buffer 2 | 7.01 | 1.669
probeSlope: | -5.1195 | (dpH/dV)
probeInt: | 15.5544 | (pH)
pH = probeInt + (probeSlope * voltage)
Test this equation:
Test voltage: | 2
Calculated pH: | 5.3155